ATA Quick Guide to Store-Forward Teledermatology for Referring Providers

Karen McKoy, Scott Norton, Charles Lappan

1. Work Flow

2. Equipment

Camera – digital ( avoid PDA and cellphone)

ideal 1024 X 768 dpi ( about .8 megapixel); minimum 800 X 600 dpi

macro mode capability ideal ( “flower” image)

3. Taking the Image

Background – use a solid , neutral color perpendicular to camera angle

Lighting – diffuse, indirect light is best. Avoid shadows. Indoors – fluorescent day-light

or full spectrum bulbs are best ( avoid incandescent). Outdoors – use well-lit, but evenly

shaded area if sunny.

Flash – helps to eliminate shadows. Test to see if needed. May cause white-out if too close.

Compression – use JPEG medium or low setting (no more than 20:1).

Focus – adjust camera and patient to have camera angle perpendicular to are imaged. Use

auto-focus with area of interest in center of frame; if not possible, focus 1st on area of

interest, depress shutter button half-way to focus and then move camera to center the

image before fully depressing shutter button.

Views – take to show location and arrangement of lesions. Take several views – far (entire

body or obvious region), medium (area involved central but include an anatomical

landmark such as the navel or hand), and close-up ( if you have a macro capacity–the

“flower”image, this can be taken under 18 inches from the skin – otherwise you may use the

optical zoom  if present to focus for a close-up). use staright on and obliques views for

close-ups.

Tips – use a chaperone if needed; avoid distracting jewelry and clothing; in hairy areas tape

or press back to show underlying skin changes. For face shots, eyes should be open.

4. Before and After Sending the Consult

Review images for focus and adequate views before the patient leaves.

Send only helpful and good images to the consultant.

Do not alter images in any way after taken.

Label images, transmitted text and consultant response to become part of a secure,

and retrievable medical record.

# TELEDERMATOLOGY IMAGING SETS

# Show entire anatomic unit (e.g. trunk) if a lesion or rash is within this unit.

# COMPLEMENTARY VIEWS

# If condition involves certain locations, then check to see if any complementary views need to be looked at or photographed.

# If Involved:		Include	                 Look / Ask / ? Include

# Hands			Feet			Elbows/Knees

# Feet			Hands			Groin

# Elbows		Knees 			Scalp

# Knees			Elbows		Scalp

# Scalp			Face			Knees, Elbows

# Popliteal fossa		Antecubital fossa	Neck, Face, hands

# Antecubital fossa	Popliteal fossa		Neck, Face, hands

# Nail (any)		All nails		Oral Mucosa

# Groin			Buttocks		Hands & Feet

# Face (Eyebrows)			            Scalp

# Oral Mucosa					Genitals

References:

Krupinski E et al. American Telemedicine Association’s practice guidelines for teledermatology. Telemedicine and e-Health  2008 (April): 14: 289-302.

Pak HS, Lappan CM. Basic guide to dermatologic photography. Unpublished document, 2005.  Available at: www.americantelemed.org/files/public/membergroups/teledermatology/telederm_DermatologicPhotography.pdf

# Text boxes

HIPAA secure transmission

Referral site

Consent, history,

image  acquisition,

medical record keeping

Consulting dermatologist receives consult and returns a report

Arm

Arms

Hands/ Fingernails

Trunk

Legs

Axilla

Genitals/ Buttocks

Feet/ Toenails

Elbows/ Knees